## Slide 1
Induction motor
Odyssey Gould Nicolet
Supply grid
Inverter
Voltage sensors
Current sensors
Electromagnetic brake
50 Hz, 400 V

## Slide 2
Supply grid
Inverter
Induction motor
Two acquisition cards of National Instruments 9234
Electromagnetic Brake
Voltage sensors
Current sensors
Direcr current supply
50 Hz, 400 V
Coupling
Accelerometer
Bearings
Gears
Input shaft
Output shaft
Intermediate shaft
Bearing and gear of experiments
9 balls
100 teeth
36 teeth
29 teeth
90 teeth